| Title/标题：Standard for Use of Cleanroom Cleaning Tools /洁净间洁具使用标准 |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| - Classification & Color-Coded Management/ 分类与分色管理 - Three-color wiping cloths shall be used exclusively for assigned areas: White-external surfaces of equipment and workbenches; Green-wall surfaces; Blue – floors./三色抹布专区专用：白色-设备/操作台外表面、绿色-墙面、蓝色-地面 - Brushes and cleaning buckets are dedicated to corresponding areas; Cross-use between different cleanroom classification grades is prohibited./毛刷、清洁桶对应区域专属，禁止跨洁净级别混用 - On-Site Operation Specifications/ 现场使用规范 - Tools that are damaged or contaminated shall be taken out of service immediately and discarded./ 工具如出现破损、脏污，应立即停用并报废 - All cleaning tools coming into direct contact with the internal surfaces of equipment are for single-use only. /所有直接接触设备内表面的清洁工具，均为一次性使用。. - Left‑hand Zone: Hanging of cleaning brushes and storage of cleaning containers./左侧区：清洁毛刷悬挂及清洁容器存放 - Right‑hand Zone: Air‑drying of color‑coded wiping cloths and storage of dedicated cleaning tools./右侧区：分色抹布晾晒+专用清洁工具存放. |
| Number and title of the reference document/ 参考文件的编号和标题 |  | <DS-GMP-001>《生产厂房清洁（DS）》 |  |  |  |
| Working aid doc # and ver #/ 作业辅助文件编号和版本号 |  |  | Approval date of the original working aids/ 作业辅助文件审批时间 |  | Copy No./ 复制号 |
| TJ4-SC-DS-GMP-001-01.01 |  |  | 11/18/2025 |  |  |
| Prepared by/Date/制作人/日期： _______________________ | Reviewed by/Date/复核人/日期： _______________________ |  |  | QA Review/Date/QA审核人/日期： _______________________ |  |